## Slide 1: A Practical Approach to Streaming Point-On-Wave Data
NASPI Meeting
J. Ritchie Carroll
April 17, 2019
DOE FOA 1492
DE-OE-859

## Slide 2: Protocol Difference: Frames vs Atomic Packets
IEEE C37.118 / IEC 61850-90-5
MTU Fragment
MTU Fragment
MTU Fragment
STTP – IEEE 2664
MTU
MTU
Synchronized Frame of Measurements with Fixed Configuration
Individual Measurements
1 Packet, Several Unsynchronized Measurements
Measurements in one packet may differ from another
IEEE 2664

## Slide 3: Protocol Difference: Data Packets Allow for Compression
STTP Commands
Pass Payload to Compression Algorithm

## Slide 4: DFR Sampling Rates
Digital Fault Recorders (DFRs) capture and analyze point-on-wave data
Sampling rates often range from 5 to 15kHz
GPA’s tool suite includes software for analyzing captured data

## Slide 5: APP DFR in GPA Test Rack

## Slide 6: GPA’s Disturbance Monitoring Tool Suite
Notes: I do what to mention our disturbance tool suite – that fully automates the process of downloading and analyzing DFR data
Only what you want
Used most by TVA, SOCO & GTC.
Development largely sponsored by EPRI
openXDA is the core.
Includes analytics – all 5 IEEE single ended fault location methods, plus doubled ended.
Breaker timing

## Slide 7: Open PQ Dashboard
The display layer for openXDA data
Drill-down from wide-area data displays all the way to waveforms
Complements traditional vendor-provided waveform analysis tools
Ability to manually override automated results and add notes
Recent Improvements
Features

## Slide 8: Using STTP for High-Resolution Data Transfer
Synchrophasor and SCADA
  Example: Recent EIDSN Testing
88kSPS Range (44kHz * 2 signals, ~155 PMUs)
  Example: CD Quality Music
300kSPS Range (~525 PMUs)
  Example: Demodulated Radio Frequency

## Slide 9: STTP over EIDSN Demonstration
Purpose To compare STTP protocol performance to IEEE C37.118
Approach
  Use the EIDSN as the transport layer
  Use GPA’s secure gateway, SIEGate as the test application
  Test performance at differing data volumes
Publisher
Subscriber
Metrics Captured
Metrics Captured
New version with STTP deployed at both SPP and TVA
IEEE 2664
https://www.osti.gov/search/semantic:1504742 https://github.com/sttp/dotnetapi

## Slide 10: Lossless compression enables greater STTP throughput
Chart: 
| 450 | 1125 | 2085 | 5085 | 2641 | 6441 | 8341
 | 1097.561 | 1136.3636 | 1219.2982 | 1088.8651 | 1726.1438 | 1731.4516 | 1702.2449
IEEE 2664
IEEE C37.118
Points Per Mbps of Bandwidth
EIDSN Demonstration Test Results
Number of Measurements at 30 points/sec
1,200
1,700

## Slide 11: Lossless compression requires more CPU cycles
EIDSN Demonstration Test Results
Chart: 
| 450 | 1125 | 2085 | 5085 | 2641 | 6441 | 8341
 | 136.3636 | 312.5 | 508.5366 | 1017 | 517.8431 | 723.7079 | 786.8868
Number of Measurements at 30 points/sec
IEEE 2664
IEEE C37.118
Measurement Points per CPU Percent Use
650
1,020

## Slide 12: CD Quality Audio (~88kSPS)

## Slide 13: Demodulated Radio Frequency (~300kSPS)

## Slide 14: High Speed Graph

## Slide 15: Project Partners
IEEE 2664