**GTC Response**

Pink – ticket

Green – my comments/confusion

Teal – fixed, needs an update

**System Center**

1. More than 50 events – 1080

2. User Name in Asset Groups – Users can no longer be added to Asset Groups, 1073

3. Dates on User Stats - 1128

12. Unable to delete line from Meter Details – 1081

13. Link to openXDA dashboard – 1079

14. Only shows top 50 entries – 1080, only issue on data files page; example of others?

20. Double click on a “Transmission Asset” causes blank screen – fixed, 1130

22. Time Zones disappeared from DFRs and PQs – config, needs a Value List for Time Zones

23. Line Name, Logic, and Breakers on Assets tab under Meter details (a la dD Tools) – 1138, 1145, 1146

25. Time in Data Files page should be 24hr – 1082

34. No export button on Data Files page – addressed in recent update (no functionality yet)

44. Search bar doesn’t work on Asset Group page – 1078

45. Search bar doesn’t work on OpenXDA Data Readers – 1078

46. Indicator for selected items – 1084

47. Duplicate of 46

48. Error when adding user – fixed

50. 9/2/22 Data Files search stopped working (file exists and was found by removing one number) – unable to replicate (GTC has too many files)

51. New Meter Wizard won’t open – fixed

52. Substation search not working on page load – fixed

53. Clicking a substation goes to a blank screen – fixed, 1130

62. Add Event ID to Reprocess Files – Fixed, 1086

63. “Change Password On” for DB User issues – fixed, 1104

**Notification Pages**

15. Can’t manage users on email notifications – 1071

16. Users cannot unsubscribe – 1071

17. System Center a little buggy – specific process for adding Data Source right now

33. Screen goes blank after selecting “Contact Info” – 1141

34. Link to self-subscribe? – Notification Pages

40. Is something supposed to appear under email “Notifications” for Daily or Alarm (or do we need to set them up?)? – They would need to be set up, however, it’s still being developed

**PQ Dashboard**

5. Phantom Fault Event on Map – cannot see the filters applied

6. No PQ Data since early July – 1142

7. Settings button nonfunctional – need to add users through DB

11. In Events tab, when clicking on Meter, expect “Meter Events by Line” instead of SE Browser – filtered data when redirecting to SE Browser (fixed but not deployed)

39. Data missing from Open Fault Detail Window - 1083

**SE Browser**

4. Breaker Report error – 1136

8. Icon broken – fixed, 1040

9. Sometimes extends beyond browser page, no scroll bar – 1044

10. Mag/Dur mouse over flickers – 1049

30. When filtering in Event Search, not all of the faults are showing up – 1140

31. How to search for type “Breaker”? – 1137

36. Meter Activity > FILES PROCESSED LAST 24 HOURS shows nothing – timing out due to volume of files

37. TripCoil & CapBank Reports – These are specifically TVA things (hide Reports)

38. Remove Breaker Open Event Type – 1144

**openSEE**

54. Show Points popup resize option

55. “Remove” and “Pop” buttons do not function – 1058

56. Event ID link in “Show Correlated Sags” does not work – 1109

57. “Show Lightning Data” shows no data – under development

58. Breaker Restrike info missing from “Show Stats” – 1085

59. Make “Show Stats” larger like previous XDA version

60. Compare tab crashes when “Display all Events on single Graph for Compare Overlapping Events” box is checked – 1110

61. Page goes blank when “Fault Distance” selected in “Analytics” tab – fixed

**dD Tools**

18. Where to put DFRs in “test” mode – 1143

24. dD Export page to view meters attached to Remote XDA instances slow to load or does not load at all – Remote XDA Instances in System Center

32. Duplicate of 18

41. “Files” button missing from dD Export (exists in KING). Is this needed to set up files to send to GPC?

**Other/Multiple Applications**

19. Breaker Restrike table did not get migrated – fixed

21. Fix file path hash error before moving to KING – fixed, 1135

26. All references to OpenFTT need to be changed to Faulttracetool – config email templates, 1134

27. Line names are no longer displaying, only line numbers (emails, PQD, SC, openSEE) – 1138

28. The link to “Click for waveform” is broken in the PQDB email (graf/GTCDashboard/Main/OpenSEE?eventid=3297915&faultcurves=1) – email template config

29. The FTT map does not display in the email, just an error (“Error while querying event\_ftt00.jpg: System.FormatException: Input string was not in a correct format. At System.Number.ParseDouble(String value, NumberStyles options, NumberFormatInfo numfmt) at System.Convert.ToDouble(String value) at FaultData.DataWriters.GTC.FTTImageGenerator.ConvertToFTTImageStream(XElement fttElement) at FaultData.DataWriters.Emails.EventEmailService.<>c\_\_DisplayClass20\_0.b\_\_0(XElement element, Int32 index)”) – 1139 HIGH PRIORITY

42. SPC Tools explanation – needs some bug fixes before demo/training docs can be provided

43. How to connect PQ data to TrenDAP

49. It’s 9/9/22 and files are still processing in GRAF. How do we update openXDA in KING and keep files from reprocessing? This will be unacceptable in our production environment. – fixed, 1135