## Sheet1
Ticket | Subject | Status
1035 | Cache LSCVS Code | Testing
1036 | Highlight Proxy Events | Testing
1037 | Update Filters on Changes | Testing
1038 | Multi Line Select | Testing
1044 | Page sometimes extends beyond the boundaries of the browser window | Testing
1053 | Notes widget issues | Testing
1210 | OpenMIC - Dranetz Meter - PQDIF Files | Testing
1243 | DeviceIssuesPage table sizing issue | Testing
1256 | Dashboard Add Recommend Action | Testing
1257 | Add Capability to send emails when a PMU is in Alarm | Testing
1288 | Add blue banner that shows number of events to Mag/Dur Chart | Testing
1297 | Change labels from SMS to Text Message | Testing
1300 | OpenMIC - ION Meter - PQDIF Files | Testing
1326 | PQI list needs to be sorted alphabetically and pull Company name | Testing
1347 | Hide Filters should show the start and end times of the window | Testing
1356 | Widget headers should freeze at the top of the tab instead of scrolling away | Testing
1358 | Change default and limit entries for Event Characteristic filters | Testing
1375 | ION Terminate external tasks on openMIC service start | Testing
1381 | Meter configuration on scheduling node not pushing to processing nodes right away | Testing
1390 | Match Column labels to Filter labels | Testing
1406 | Email template (Engineer/Operator) issues | Testing
1407 | NotificationPages error handling | Testing
1426 | LSCVS - Disturbance Page - RMS Event View | Testing
1427 | LSCVS - Disturbance Page - Time Zone | Testing
1450 | LSCVS - Event Review | Testing
1455 | Fields are blank when adding existing transformer in NMW | Testing
1477 | New Meter Wizard error handling | Testing
1495 | Add Killswitch to Dranetz Downloader when openMIC stops | Testing
1512 | Add a button to access Substation Drawings from Asset Connections | Testing
1526 | Processed Files, Data Files, file selection indicator | Testing
1122 | Meter Activity Sort | Wait
1151 | Update self-service email subscription page | Wait
1153 | Real-time vis displays in OpenMIC for SEL-735, PSL Pqube, APP DFR, and ION | Wait
1154 | OpenMIC Interrogation of Relays | Wait
1155 | Add derived calculations to real-time OpenMIC visualization | Wait
1156 | Develop a new tool to import an APP INF file into OpenPDC | Wait
1157 | Update OpenXDA with breaker trip coil analytics | Wait
1158 | OpenXDA fault cycle for distance on breakers with opening resistance | Wait
1159 | Develop summary email and schedule for cap bank, trip coil analytics | Wait
1160 | Update OpenXDA to process voltage sag/swell mag based on pre-event cycle | Wait
1161 | Fault notificaiton in KML file format | Wait
1163 | Update SEBrowser filters | Wait
1164 | Update SEBrowser to deliver ad hoc TrendSearch reporting | Wait
1165 | Update SystemCeneter to obtain data from configuration fields in MCM | Wait
1219 | System Center - Meters - Scale Channels | Wait
1244 | Incomplete chart labels in openSTE | Wait
1284 | Update menu bar | Wait
1293 | Refactor Trace Control Gid to be more efficient (Deliverable 11A Task G8) | Wait
1294 | Links in Most/Least Active lists produce blank page | Wait
1296 | Make default file path for pqd/contrade files configurable | Wait
1410 | Dranetz Downloader channel config | Wait
1460 | PQ Dashboard Completeness Discrepancies | Wait
1467 | Reduced number of channels and invalid file name dates | Wait