## Slide 1: Overview
Fred Elmendorf
August 2014
Power Quality Dashboard

## Slide 2: Dashboard vs Analytic Software
http://www.exceldashboardwidgets.com/
Analytics is the discovery and communication of meaningful patterns in data. Especially valuable in areas rich with recorded information, analytics relies on the simultaneous application of statistics, computer programming and operations research to quantify performance. Analytics often favors data visualization to communicate insight. (wikipedia)

## Slide 3: Dashboard vs. Analytic Software
Dashboard
Easy to read
Single page
Graphical
Current status
Historical trends of key performance indicators
Informed decisions can be made at a glance
Analytic Software
Desktop or heavy client
Manual steps
Graphical or tabular
Historical investigation
Historical trends and details of specific events
Typically used to gather reporting information

## Slide 4: Unique Values of a Dashboard
View entire fleet instantly
Primarily visual presentation
Saves time compared manual tools
Identify negative trends and take action
Measure efficiencies/inefficiencies
Present consistent view of information
Make informed decisions based on specified populations
Quickly identify data outliers

## Slide 5: PQ Dashboard Beta
Background
PQ monitoring goals considered:
  Quickly assimilate large quantities of data
  Effectively represent a large number of sites
  Integrate PQ and GIS data
  Provide value from a broad context
  Provide actionable information

## Slide 6: PQ Dashboard Beta
Background
Challenges:
  Increasing number of monitors
  Large data volumes
  Ineffective data distillation
  Bad data

## Slide 7: PQ Dashboard Beta
Background
Objectives
  An OSS application
  Develop OpenPQ Dashboard framework
  Implement key features as a proof-of-concept
  Demonstrate the value of a PQ Dashboard
  Easily deployable
  Easy integration with legacy systems
  Extensible

## Slide 8: PQ Dashboard Beta
Building on Prior OSS Work
Grid Solutions Framework (GSF) library
  Approximately half a million lines of code
  Highly optimized data management functions
2102 EPRI open fault location engine (openFLE)
2013 open extensible disturbance analytics (openXDA)
http://GSF.codeplex.com/
http://epriopenfle.codeplex.com/
http://openxda.codeplex.com/

## Slide 9: PQ Dashboard Beta
Context
  Initial displays have daily context
  Map and grid display entire fleet
  Default displays show yesterday’s data
  30 day summary chart
  Limited drill-down for some detail

## Slide 10: PQ Dashboard Beta
Where we are now
  TVA Test data positioned for events and simple trending
  Visualization framework complete
  Displays complete:
    Map
    Events
    simple trends

## Slide 11: PQ Dashboard Beta
Additional planned functions
  Complex trend displays
  Compatibility curves
  Data quality displays
  Automatic Link to PQWeb for analytic detail

## Slide 12: PQ Dashboard Beta Simple Interface with Powerful Controls

## Slide 13: PQ Dashboard Beta
Simple Interface with Powerful Controls
Intelligent calendar control shows day selected and identifies days with events
Select base map and category of data to display

## Slide 14: PQ Dashboard Beta
Simple Interface with Powerful Controls
Switch between map and grid
Standard map zoom and pan
Drag to zoom
                Flexible site selection, list, click or drag

## Slide 15: PQ Dashboard Beta
Simple Interface with Powerful Controls
Mouse-over tool tip
Click daily bar for
  event detail table

## Slide 16: PQ Dashboard Beta
Initial test data provided by TVA

## Slide 17: PQ Dashboard Beta
Initial test data provided by TVA

## Slide 18: Conclusions
A dashboard approach for visualization brings new value to large volumes of data from a fleet perspective
OSS development strategy ensures flexibility and extensibility
Seamless integration can be accomplished with existing data sources and tools