## Slide 1: NERC PCS Project Update
NASPI Workgroup Meeting
October 7th, 2009

## Slide 2: Outline
Project Status and Planning
The openPDC Project
Technical Project Update

## Slide 3: 5-Year Project Overview
2009
  Develop NERC PCS
  Deploy 2 BETA NERC PCS Nodes
  Setup Central Archive Infrastructure
2010
  Deploy 5 Production NERC PCS Nodes
  Setup Communications Network
  Operate / Grow Central Archive
2011
  Deploy 9 (4 new) Production NERC PCS Nodes
  Integrate NASPInet into NERC PCS Network
  Grow Communications Network
  Operate / Grow Central Archive
2012
  Deploy new Production NERC PCS Nodes
  Grow Communications Network
  Operate / Grow Central Archive
2013
  Deploy new Production NERC PCS Nodes
  Grow Communications Network
  Operate / Grow Central Archive

## Slide 4: 2009 Deliverables and Status
Develop the NERC PCS
  System development is currently in progress.
  TVA expects to start internal BETA testing in late October.
Setup central archive (Hadoop)
  The test system has already been successfully deployed.
  We expect to purchas production hardware starting in October.
Deploy pilot version of NERC PCS
  Contracts for beta node hosts is being developed.
  TVA is working with PJM to setup a VPN based lan-to-lan interim link.
  The test system is expected to be deployed in early December.

## Slide 5: Planned 2010 Deliverables
Add 3rd BETA NERC PCS Node in April.
NERC PCS system production version 1.0 released in late June.
NERC PCS comes online as all beta nodes are moved into production.
Deployment of 4th NERC PCS node in September.
Deployment of 5th NERC PCS node in November.

## Slide 6: Example Operational Report
FPL is offline for NERC CIP upgrades.

## Slide 7: Uptime Statistics

## Slide 8: Storage Space

## Slide 9: Outline
Project Status and Planning
The openPDC Project
Technical Project Update

## Slide 10: openPDC Vision
TODO: Needs refinement…
The openPDC is a foundational adaptive technology that can be used for streaming, analyzing and processing any kind of time-measured data.
We believe this code will be an enabling technology for both vendors and the electric power system industry as billions are invested to modernize the power grid over the next several years.

## Slide 11: openPDC Source Code Status
Code based on TVA’s SuperPDC that has been in production use since early 2005.
The source code is based on .NET 3.5 and written almost exclusively in managed C#.
The code set has over 300,000 lines of fully documented code spanning 630+ classes.
Includes detailed API help files for the source code.
Everything needed to create your own operational PDC is included in the code.

## Slide 12: What’s Included…
The TVA Code Library: this consists of code for handling sockets, threading, error management, security, etc. as well as basic data concentration and archival and general phasor protocol parsing / generation.
The openPDC synchrophasor projects: these include all the SPDC components (service host and adapter layer, phasor protocol adapters, etc.), the PMU Connection Tester and…
A working experimental prototype implementation of NASPInet to spur further development and discussion.
Note that the NERC PCS is built on top of the openPDC.

## Slide 13: Integrated Help

## Slide 14: The Pre-Release Review
Companies Participating:
  Information Trust Institute (University of Illinois)
  Pacific Northwest National Labs
  AREVA T&D
Review was conducted by independent entities to help find any issues and provide insight into possible improvements prior to release.
TODO: Statements and/or White Paper References go here…

## Slide 15: Where do I get the code?
You can download the all the source code and/or pre-compiled installation packages from the following URL:
http://openpdc.codeplex.com
Any public contributions consisting of new features, updates or fixes will be accepted by TVA. However, all contributions will first be reviewed for security and completeness before they are integrated with the public code. Attributions to contributors will remain in the code.

## Slide 16: Layered Plug-in Architecture
Measurements

## Slide 17: What’s Happening Now…
We are busy developing the NERC PCS – however, since the NERC PCS is based on this open source code any changes, updates or bug fixes we make to the code will made available to you.
We are hoping other developers will start adding to the open source code base. To accommodate more developers we are adding unit tests to the code so that changes made by others can be tested for consistency.
An initial version of the “Getting Started Guide” and FAQ have been posted to the web site already. As we get more questions we will answer these and post them to the FAQ.

## Slide 18: Outline
Project Status and Planning
The openPDC Project
Technical Project Update

## Slide 19: NERC Phasor Concentration System
Development of the NERC PCS is proceeding as planned.
The new NERC PCS node foundation has been developed using the generation I technology now labeled the “openPDC”.
Nodes are being designed to communicate via a NASPInet-like prototype implementation. This transport will be updated as the standard is developed.

## Slide 20: The NERC PCS Central Archive
The initial test system has been deployed and is operational.
System is based on “Hadoop”
Hadoop is an open source product that uses low cost commodity hardware to redundantly store data.
The other major benefit is parallel processing of massive amounts of data.
We are currently developing the recoverable data transport process for moving data into the central archive.

## Slide 21: Please See Poster Session