## Slide 1: NASPI PMU Registry
Russell Robertson
December 9, 2009

## Slide 2: Registry Objectives
To be the one-point stop for information on PMUs in North America (vis-à-vis NERC ISN data definitions)
To establish uniform naming conventions for PMUs and their measurement descriptors to facilitate the exchange of PMU data for analysis and display
To support federal SGIG and industry investments in PMUs through collection and tracking of data on PMU equipment
TVA is developing the registry software under contract to NERC to serve all PMU owners across North America with a standard PMU entry interface

## Slide 3: Registry Application Features
Web based with performance optimized for data display and filtering
System secured to protect data and to limit data observability to only a company or a region
Ability to extract bulk data from the registry as XML files
Daily data backups are archived
All changes are logged
Use of “PMU connection tester” allows automated uploads to the PMU registry
Multiple views and filters to allow navigation to the data of interest – including geographical-based navigation.
Data integrity improved through liberal use of drop down dialogs
For users …

## Slide 4: Registry Data Overview
Simple Data Hierarchy
  Regional concentration (Concentration for external users)
  Local concentration (if present)
  PMU
  Measurement Descriptors
Allows for multiple layers of data concentration and documents up to 2 layers
Allows PMUs that do not provide data to external users to be a part of the registry
Creates standard names for PMUs and measurement descriptors.
PMU
Local concentration
Regional Concentration
Measurement
Point Definitions
Optional Additional Concentration Layers
Optional Additional Concentration Layers
The registry only holds configuration data.

## Slide 5: PMU Owner Data
The owner is typically the transmission owner, but can be any entity.
Registry will use standard company names and abbrevisions
Data Elements
Company
Company Abbreviation
Contact Name(s)

## Slide 6: Access / Authorization Data
User Permission Roles (includes XML services)
  Company Viewer
  Company Editor
  Company Administrator (Manages company users)
  Regional Viewer
  Regional Administrator (Manages regional viewers)
  Global Viewer
  System Administrator (Manages company and regional administrators)

## Slide 7: PMU Data
Standard Name
Physical Location
Device Info – Vendor, Protocol
Operational Status
Measurement Descriptors
PMU / PDC
Standard Name
Phase Measured
Units
Reasonability Limits
Network Element
Standard Name
Electrical One-Line Location

## Slide 8: PMU/PDC - Physical Location
Interconnection
NERC Region
Regional PDC (optional)
Location Name (Substation)
Station ID or short name
Lat / Long
Time Zone
SGIG Funding Info
PMU / PDC

## Slide 9: PMU/PDC - Device Info
Standard Device Name / ID [system generated] (Company Abbv – Station Short Name – Count)
Company Device Name
Device Type
Vendor
Model
Protocol
Sampling Rate
Device Status
Comments / Description
PMU / PDC
Device Status States
Planned (planned date)
Installed
Regionally Operational (in-service date)
Out-of-Service/Retired

## Slide 10: Measurement Descriptors
Measurement Point Name / ID [system generated] (Company Abbv – Station Short Name – Device Count – Signal Type – [Count])
Measurement Type (phasor*, frequency, change in frequency, analog, calculated analog, binary, measurement system status.)
Phase (+, -, 0, A, B, C)
Engineering Units
Scaling Factors (mx + b)
Reasonability Limits (high / low)
Measurement Value
*Phasors can be in polar form (magnitude and angle) or rectangular form and always generate a pair of master registry IDs.

## Slide 11: Network Element Monitored
Registry Network Element ID [system generated] (an ID for each line name for a company)
Line / Bus Name
Regional Line/Bus unique ID (e.g, MMWG / SDX ID in the east)
Local Line/Bus ID (an ID with meaning to company)
Extra Line/Bus ID
Nominal kV
Measured Element

## Slide 12: Public Splash Screen Provides Summary and “how to contribute”

## Slide 13: Logon for Access

## Slide 14: Overview / User Homepage

## Slide 15: Browse Devices (PMUs)

## Slide 16: Enter Device (PMU) Configuration Data

## Slide 17: Wizard to upload Device (PMU) Configuration Data

## Slide 18: Manage Companies

## Slide 19: Manage Vendors

## Slide 20: Manage Vendor Devices

## Slide 21: Browse / Edit Measurement Configuration Data